## Slide 1: Gentian Blossom Group 209

## Slide 2
Some Challenges of the project
Industrial base
Green energy

## Slide 4
Our Problem is
Improve a traditional industrial process.
Solved through
Using a Feedback Control Mechanism
Using a green energy source

## Slide 5
Usage
Monitors Electricity for home appliances
Strengths
Weakness
Efficient
Expensive
Name
Smart Grids Solar Energy Production Project

## Slide 6
Usage
Strengths
Weakness
Automated
Difficulty in installation
Name
Sulfur Recovery unit
Extracts Sulphur from acid gases

## Slide 7
The solution is:
Improving the Gentian Violet Solution Industry.
Time inefficient
Usage
Dyes
&
Gram Staining
Feedback Control Mechanism
&
Solar Energy as a power source
Anti-Microbial
&
&
Ink

## Slide 8
Design Requirements
Ideal pH of 3.4
Efficiency: Time

## Slide 9
Gentian Violet Powder
Arduino UNO pH sensor
Arduino UNO Board
Solar Panel
3.7 Volt, 5.5 Ampere Lithium ion Battery
Materials
Step-up Transformer

## Slide 10
Self-stirring mug
Male-Male & Male-Female Jumpers
Hose
Li-ion Battery Charger Module
3-5 Volt Water Pump

## Slide 11
Methods
The Samples of the Laboratory
pH sensor connection
pH sensor & Li-ion battery connection

## Slide 12
Connection of the transformer
Connection of the pumps & the relay
The pumps connected to the solutions’ container

## Slide 14
Design Requirements
Ideal pH of 3.4
Efficiency: Time

## Slide 15
Negative Results
Burning of the Arduino
Inaccurate results of the pH sensor
Due to
Due to
Reverse connection of the wires
Wrong method of calibration
Solved By
Calibration using Buffer Solutions

## Slide 16
Results: Design Requirement 2
Average Time for the trials
3.5 minutes
Efficiency of the protype was measured by comparing the saved time by the project.
3.5 min
Time
2.5 min
Saved Time
6 min
Regular Time
The Increase in Efficiency is 40%

## Slide 17
Results
 | Diluted (Trial 1) | Ideal (Trial 2) | Concentrated (Trial 3)
Before Trial 1 | 5.00 ± 0.01 pH | 3.40 ± 0.01 pH | 2.50 ± 0.01 pH
After Trial 1 | 3.60 ± 0.01 pH | 3.40 ± 0.01 pH | 3.30 ± 0.01 pH
Before Trial 2 | 5.50 ± 0.01 pH | 3.40 ± 0.01 pH | 2.20 ± 0.01 pH
After Trial 2 | 3.62 ± 0.01 pH | 3.40 ± 0.01 pH | 3.28 ± 0.01 pH
Average for after trials | 3.61 ± 0.01 pH | 3.40 ± 0.01 pH | 3.29 ± 0.01 pH
Since the pH is always near ideal, the first design requirement was achieved.

## Slide 18
Gentian Violet

## Slide 19
pH electrode
A galvanic cell of a concentration-dependent potential
On dipping the electrode in a solution
Potential changes according to the difference in [H+] concentration
Standard electrode of known potential
Glass electrode of changing potential
Potentiometer

## Slide 20
Arduino
Microcontroller
Analog (Input) Pins
Digital Pins
5V Pin

## Slide 21
Feedback Control Mechanism

## Slide 22
Arduino Code

## Slide 23
Light photon strikes the depletion region of the PN-junction
Carries excess charge, creating an electric field
Electrons move to the N region, and holes move to the P region
PN junction works as a small battery that produces external current.
Solar Panels

## Slide 24
Lithium-ion battery
Consists of
Metallic sheet, containing 3 sheets: anode, cathode, & insulator
Anode
Cathode
Total
+

## Slide 26
Material Recommendation
400 Dollars
240 Dollars

## Slide 27
Benban Solar Park

## Slide 28
3.8 TWh
2 tons
60,000 Litres
49 units at a scale of 30
2.9 GWh

## Slide 29
THANKS