## Slide 1: Slope Desalinator
Group 207, sTEM high school for boys – 6th of October, 2021-2022
YUSUF YASSER – SADEK MOHAMMED – WALID MEDHAT

## Slide 2
Introduction

## Slide 3
Demand of clean water resources increased dramatically
Population growth in Egypt three times in 60 years.
Per capita water share decreased from 2500m3 to 700m3

## Slide 4
Exhausted utilized Egypt water resources
Take the path of improving the underutilized water resources
Made the study

## Slide 5
Agriculture uses 80-85% of water use in Egypt.
Seawater is highly available
A project that makes seawater utilized for agricultural use

## Slide 6
Tampa Bay Water Desalination project
High production rate in comparison to other solutions
The project is highly expensive.

## Slide 7
Wave-powered water desalination project in Greenland, Australia.
A green, eco-friendly project.
Waves are not that available.

## Slide 8
Solution:
Prototype:
Eco-friendly, effectiveness, and efficiency
Water Quality Parameters: pH: 6.5-7.5 and TDS: 400-700 mg/L
High output-to-input ratio: more than 80%.

## Slide 9
A glass container
Evaporates
Condensates
Mineralizes

## Slide 10
Materials & Methods

## Slide 11
Standard 6mm Glass
Immersion coil heater
Water Press Tap
Silicone Sealant
Aluminum Sulphate
Himalayan (Pink) salt

## Slide 12
1.
3D dimension design
2.
2
2
1
2
1
Trapezoid
Rectangle
Rectangle
Rectangle
Rectangle
0.62, 0.64, 0.17, 0.45
0.17, 0.2
0.62, 0.2
0.08, 0.43
0.66, 0.19
0.1775
0.034
0.124
0.0344
Quantity
Shape
Dimensions (m)
Area (m2)
0.1254
Through sketchup

## Slide 13
3.
The 8 faces were sealed
The holes were filled
4.
Output vents were made
Decrease the temperature and pressure difference
5.
Two 0.08*0.43 faces were above the holes
To condensate the vapor

## Slide 14
6.
Heater was isolated by silicone
Put to heat water
7.
Roof
Condense the water and direct it
8.
Press tap was put into the container
Allow the water to get out of the container

## Slide 15
9.
Initial volume (5.6) liters added
Cool the heater and cause no harm
Test Plan
1 liter to do the test plan.
Prototype was operated and heater opened till the 5.6L mark
Open video
(20-30) mg of aluminum sulphate were added, left for 45
Decrease the boiling point of water
After condensation, to mineralize
Pink salt was added for mineralization in collection tank

## Slide 16
Results

## Slide 17
Cracks
Difference in temperature &pressure
Making holes that decrease the difference
Caused by
Solved by

## Slide 18
Measurable quantity | pH | TDS | Loss rate | Time
Seawater | 7.80±0.01 | 10000±10 | - | -
Before Mineralization | 7.10±0.01 | 56±10 | 12% | 29
After Mineralization | 6.94±0.01 | 579±10 | - | -
Positive Results
Authorized here

## Slide 19
Analysis

## Slide 20
Resistive (Joule) Heating.
Flow electricity through resistance gives heat
Calculated in terms of power
Copper is a great candidate
Has a high conductivity
Immersion Coil Heater
3rd PHY LO

## Slide 21
Aluminum Sulphate and Boiling Point Elevation
During the process of filtration
Large Particles settle out quickly
Small particles settle out slowly and may not settle
Al2(SO4)3
Reacts with the small precipitates and forms large precipitates that settle out quickly.
The Purpose
Decreasing the boiling point through decreasing solutes in solution
2nd Chem LO

## Slide 22
Heat Energy
Heat Energy
Energy that changes temperature.
Calculated by
ms
m: mass in grams
s: specific heat constant for each material, water is 1
Difference in temperature (final – initial)
528000∁ =2209152J
Heater’s power is 1.5KW
24.5 minutes to heat water

## Slide 23
Thermal Expansion
Area Thermal Expansion
Defined as
Change in area
Because of
Motion of molecules due to heat
Equation
is the change in area
is the coefficient of expansion
(18 x 10-6 in case of glass)
is the change in temperature
Each face would increase by factor of 1.44x10-3
Expansion led to some cracks in the prototype
Prototype
was solved by
Adding holes
to
decrease the temperature difference

## Slide 24
Glass
Inert substance that does not react with water
The best available choice for health
Relatively Low coefficient of expansion (9 x 10-6)
Handle high temperatures under some adjustements

## Slide 25
Cohesion
Adhesion
Water moves on the roof of the prototype due to Cohesion and Adhesion.
Attraction between water molecules and each other
Attraction between water molecules and other substances
Water droplets move down as a whole grabbing each other
Water droplets move down without falling away from the roof
1st GEO LO

## Slide 26
Water Quality Parameters
TDS
pH
Measure of total dissolved solids
Measure of the acidity or basicity of water
Using a TDS meter
Makes use of electrical conductivity
Using a pH meter
Difference in H+ percentage
pH scale
<7
=7
>7
Acidic
Neutral
Basic
1st & 3rd Chem LO

## Slide 27
Recommendation

## Slide 28
Recommendation
Real-life Application
Location
Mediterranean sea
Because
Red Sea is one of the saltiest seas in the world
41 ppm
Cultivating 100 square meters of oranges (which are suitable for our water quality measurements)
According to calculations, 63 Liters should be generated per hour.
Since the project produces 1.76L each hour, the project should be generated 35.8 times.

## Slide 29
Pyrex Glass (borosilicate glass)
Trace Minerals Drops
Used Glass (Standard 6mm glass)
3 x 10-6
9 x 10-6
Lower expansion and damage
Higher expansion and damage
More Minerals Percentage
Less NaCl
Himalayan Salt
Less Minerals Percentage
More NaCl

## Slide 30
Wave Electricity
P = , where P = wave energy flux per unit of wave-crest length, Hm0= the significant wave height, Te= the wave energy period, = water density, and g= the acceleration by gravity.
Average wave height in Mediterranean sea
0.75m
If
Period = 3sec
If the rate was constant
23214.24 KW / day